Government of West Bengal

Irrigation & Waterways Directorate

Office of the Assistant Engineer-III

Purulia Irrigation Division

Bhatbandh Irrigation Colony, Ranchi Road

Purulia

Notice Inviting Quotation.

NIQ NO-1 of AE-III/PID/2021-22

**Memo No:85 Dated:05/05/21**

Sealed Quotations are hereby invited on prescribed format by the undersigned to ascertain **unit rate** of following items to be installed inside Bhatbandh Irrigation Colony, I&W Dte., Purulia.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sl No | Description of Item | Specification | Qty | Unit | Rate (Rs.) | Amount (Rs.) |
| 1 | **5 H.P Three Phase Open Well Submersible Pump**  |

|  |  |
| --- | --- |
| **Motor Horsepower:-** 5 HP |  |
| **Motor Phase:-** Three Phase |  |
| **Power Source:-** AC Powered |  |
| **Maximum Head:-** 51 to 100 m |  |
| **Maximum Discharge Flow:-** 100 - 500 LPM |  |
| **Fluid Temperature Range:-** 33 Degree Celsius |  |
| **Discharge Outlet Size:-** 2 to 3 in |  |
| **Material of Construction:-** Cast Iron/Stainless Steel. |  |
| **Motor Speed (RPM):-** 3000 |  |
| **Winding:-** Copper |  |

. | 01 | Each |  |  |
| 2 | **2 H.P Single Phase Open Well Submersible Pump** |

|  |  |
| --- | --- |
| **Motor Phase:-Single** |  |
| **Motor Power (Horsepower):-2 HP** |  |
| **Voltage(Volt):-220** |  |

 | 01 | Each |  |  |

The quotationers should quote their rate in words and figure including of all taxes GST etc (including installation) as per proforma given by the Office of the under signed on the basis of application furnished with PAN, GST & Trade Licensel. Quoted rate should be inclusive all taxes (No part rate will be accepted). **The application will be received up to 13/05/2021 up to 14.00 hours and the paper will be issued from 13/05/2021 from 2.00 p.m up to 5 p.m. Last date of received quotation paper is 17/05/2021 up to 14.00 hrs and will opened on the same day at 15.00 hrs at Office of AE-III/PID in presence of the participating quotationers.** The quotations will be accepted by the Executive Engineer, Purulia Irrigation Division however the rate will be approved by the OSD (S.E), I&W Dte.Purulia. The OSD (S.E), I&W Dte.Purulia will reserve the right to cancel each or the entire item without assigning any reason. Conditional quotations shall not be accepted.

**NO EMD IS REQUIRED AS THIS NIQ IS ONLY TO ASCERTAIN UNIT RATE (BUDGETARY QUAD).**

Assistant Engineer-III

 Purulia Irrigation Division

Memo. No. Dated:-05/05/2021

Copy forwarded to the:-

1. The EE/PID for his kind information and further course of action.
2. Notice board (Office of The AE-III/PID).

 Assistant Engineer-III

 Purulia Irrigation Division